## Background
Following a number of recent LDZ allocation issues, industry parties suggested that it would be helpful to maintain a tracker of larger issues, to help them understand unusual spikes and dips in UIG when performing their own analysis of trends.
The Tracker will list affected Gas Days, LDZ(s), nature of issue and whether corrected by Exit Close-Out (D+5 after Gas Day).
This Tracker covers UIG Allocations only. We do not track UIG Nominations (before/during the Gas Day).
Please note that it will not be possible to provide exact quantities as part of this process as that quantification will not be available.
This Tracker will be published on Xoserve.com ( https://www.xoserve.com/services/issue-management/unidentified-gas-uig/ ) and links provided on Joint Office DESC page. Tracker will be updated whenever a new "issue" has been identified on Xoserve.com "Notifications" page ( https://www.xoserve.com/live-updates ) and subsequently closed.
The tracker was first created in October 2021, so historic data has been added on a "reasonable endeavours" basis, for large known issues that were closed prior to that date.
Glossary: ALP: Annual Load Profile
AQ: Annual Quantity DAF: Daily Adjustment Factor DESC: Demand Estimation Sub Committee
DM: Daily Metered
DN: Distribution Network
Gemini: Gas Demand Balancing System I&C: Industrial & Commercial LDZ: Local Distribution Zone
NDM: Non-Daily Metered
UIG: Unidentified Gas

## Tracker
Affected LDZ | Start Gas Day | End Gas Day | Nature of Issue | Explanation | Corrected by D+5
All | 2017-06-01 | 2017-11-30 | UIG too high | NDM AQs too low, many DM sites not providing actual meter readings following Project Nexus go-live, due to data mismatches. | No
All | 2018-10-01 | 2019-09-30 | UIG too low | Use of "Uplift Factors" to ALPs/DAFs in the NDM Algorithm, as agreed at DESC, to reduce UIG volatility. UIG Task Force findings: https://www.xoserve.com/media/1471/1311-ndm-algorithm-uplift-factors.pdf | No
All | 2020-03-24 | 2020-05-10 | Negative UIG | First National COVID lockdown - overallocation of many I&C sites | No
NT | 2020-09-04 | 2020-09-04 | UIG too high | Input measurement error | Yes
All | 2020-11-05 | 2020-12-02 | Negative UIG | Second National COVID lockdown - overallocation of some I&C sites | No
WN | 2021-07-13 | 2021-07-13 | UIG too high | Telemetry errors at a DN entry point | Yes
WN | 2021-07-14 | 2021-07-14 | UIG too low | Correction of previous day's telemetry error at a DN entry point on wrong day | Yes
SO | 2021-08-12 | 2021-08-12 | UIG too low | Input measurement error | Yes
NT | 2021-08-20 | 2021-08-20 | UIG too low | Input measurement error | Yes
WM | 2021-08-20 | 2021-08-20 | UIG too high | Input measurement error | Yes
WM | 2021-09-17 | 2021-09-17 | UIG too high | Input measurement error | Yes
WN | 2022-03-22 | 2022-03-22 | UIG too high | DN system failure resulting in incorrect stock change values being passed to Gemini | Yes
WN | 2022-03-23 | 2022-03-23 | UIG too low | DN system failure resulting in incorrect stock change values being passed to Gemini | Yes
All | 2021-10-01 |  | Negative UIG | Consistent periods of negative UIG seen across all LDZs due to NDM over allocation. This is likely to be as a result of a general reduction in gas consumption across the market linked to the large increase in gas prices. Analysis of average AQs now provided in secured website. This can be found in folder 18 > UIG > Average AQ . The website is accessible from the following link: | No
https://xoserve.sharepoint.com/sites/XEUKLINKDev/Pages/UserDocumentMgmt.aspx
EA | 2022-04-08 | 2022-04-08 | UIG too low | Incorrect Input Meter measurement rejected by Gemini. Corrected on D+3 Demand Attribution run | Yes
All | 2022-04-14 | 2022-04-14 | UIG too high | Delay in processing system files caused DM Measurements to be missing for D+1 Allocation run | Yes
EM | 2022-04-29 | 2022-04-29 | UIG too high | Incorrect Input Meter measurement in Gemini. Corrected on D+4 Demand Attribution run | Yes
EA | 2022-06-25 | 2022-06-25 | UIG too low | Incorrect Input Meter measurement in Gemini. Corrected on D+3 Demand Attribution run | Yes
EM | 2022-04-21 | 2022-07-04 | UIG too low | LDZ Input Meter Error - Thornton Curtis. See link below: | No
EM011 - Thornton Curtis MTA (SMER) ¦ Joint Office of Gas Transporters (gasgovernance.co.uk)
SC | 2022-06-14 | 2022-08-30 | UIG too low | Prolonged negative levels of UIG in SC LDZ investigated by Distribution Network. No error or specific cause identified | No
WS | 2022-07-29 | 2022-07-29 | UIG too high | Closed out at 22.88% - Investigated - No error or specific cause identified. | No
NE | 2022-08-26 | 2022-08-28 | UIG too low | Erroneous NDM AQ value, identified and corrected before closeout | Yes
NE | 2022-08-27 | 2022-08-27 | UIG closed out early (D+4) | UIG Allocation job failed on Thursday 1st September due to implementation issue with Flow Weighted Average Calorific Value (FWACV) change. Amendments to LDZ Input or Daily Metered sites received on D+5 for Gas Day 27th August were not therefore reflected in a revised UIG Allocation value. UIG energy adjustments will follow in due course. The approximate change between D+4 and D+5 is provided below in UIG energy and UIG (%) terms respectively : NE: -64,864 kwh (-0.16%) NW: 14,374 kwh (0.02%) SC: -3,990 kwh (-0.01%) SO: -1,415 kwh (0.00%) | No
NW
SC
SO
SW | 2022-10-10 | 2022-10-10 | UIG too low | Closed out at -33.37% - Investigated - No error or specific cause identified. | No
EA | 2021-10-19 | 2022-10-17 | UIG too high | LDZ Input Meter Error – Royston Offtake. Flow computer data error resulting in daily offtake energy being too high for EA. See link below: | No
https://www.gasgovernance.co.uk/MER/EA018
SC | 2022-10-19 | 2022-10-19 | UIG too high | Incorrect CV (too low) used in calculation of DM energy for the day resulting in DM energy in SC being too low and UIG being too high. | No
SE | 2022-10-27 | 2022-10-27 | UIG too low | Late LDZ Input measurement | Yes
SE | 2022-11-08 | 2022-11-09 | UIG too low | Incorrect LDZ Input Measurement | Yes
NW | 2022-12-02 | 2022-12-02 | UIG too low | Incorrect Input Meter measurement in Gemini. Corrected on D+3 Demand Attribution run | Yes
NT | 2022-12-17 | 2022-12-17 | UIG too low | Late LDZ Input measurement | Yes
All | 2022-12-20 | 2022-12-20 | UIG too high | NDM Allocation failed to calculate on D+1 | Yes
NW | 2023-04-05 | 2023-04-05 | UIG closed out early (D+4) | UIG Allocation job failed on Monday 10th April and Gas Day 05/04/2023 closed out with D+4 values. The change between D+4 and D+5 in UIG energy and UIG (%) is provided below: NW: -25,055 kwh (-0.01%) Note: Gas Days 6th - 9th April successfully updated following the allocation run on 11/04/2023. | No
All | 2023-04-09 | 2023-04-09 | Zero UIG | NDM Allocation failed to calculate on D+1, was corrected on D+2 run | Yes
WM | 2023-05-26 | 2023-05-26 | UIG too high | Incorrect Input Meter measurement in Gemini. Corrected on D+4 Demand Attribution run | Yes
EA | 2023-05-27 | 2023-05-27 | UIG too high | Incorrect Input Meter measurement in Gemini. Corrected on D+3 Demand Attribution run | Yes
NT | 2023-06-09 | 2023-06-09 | UIG too high | Incorrect Input Meter measurement in Gemini. Corrected on D+2 Demand Attribution run | Yes
NE & NO | 2023-07-17 | 2023-07-17 | UIG too high | Incorrect LDZ Input Measurement | Yes
NW | 2023-09-06 | 2023-09-07 | UIG too high | Incorrect LDZ Input Measurement | Yes
SO | 2023-10-13 | 2023-10-13 | UIG Too Low | Incorrect LDZ Input Measurement | Yes
SO | 2023-11-21 | 2023-11-21 | UIG Too Low | Incorrect Input Meter measurement | Yes
WS | 2023-12-11 | 2023-12-11 | UIG too high | DM Meter Issue, corrected on D+2 | Yes
NE & NO | 2024-02-02 | 2024-02-02 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2024-03-18 | 2024-03-18 | UIG too high | DM Meter Issue, corrected on D+4 | Yes
WS | 2024-03-20 | 2024-03-20 | UIG too high | DM Meter Issue, corrected on D+2 | Yes
WS | 2024-03-25 | 2024-03-25 | UIG too high | DM Meter Issue, corrected on D+4 | Yes
SO | 2024-03-27 | 2024-03-27 | UIG too low | Incorrect LDZ Input Measurement | Yes
WS | 2024-04-04 | 2024-04-04 | UIG too high | DM Meter Issue, corrected on D+4 | Yes
WS | 2024-04-08 | 2024-04-08 | UIG too high | DM Meter Issue, corrected on D+4 | Yes
EA | 2024-04-11 | 2024-04-15 | UIG too low | Negative levels of UIG in EA LDZ investigated by Distribution Network. No error or specific cause identified | No
SC | 2024-04-16 | 2024-04-16 | UIG too high | Delay in processing system files caused DM Measurements to be missing for D+1 Allocation run | Yes
WS | 2024-04-17 | 2024-04-17 | UIG too high | DM Meter Issue, corrected on D+5 | Yes
WS | 2024-04-25 | 2024-04-26 | UIG too high | DM Meter Issue, corrected on D+4 | Yes
EA | 2024-05-01 | 2024-05-02 | UIG too low | Negative levels of UIG in EA LDZ investigated by Distribution Network. No error or specific cause identified | No
WM | 2024-05-03 | 2024-05-05 | UIG too low | Incorrect LDZ Input Measurement | Yes
NT | 2024-05-04 | 2024-05-05 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2024-05-09 | 2024-05-14 | UIG too high | DM Meter Issue, Corrected on D+5 | Yes
WS | 2024-05-10 | 2024-05-14 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
EM | 2024-05-10 | 2024-05-14 | UIG too high | Incorrect LDZ Input Measurement | Yes
NE & NO | 2024-05-11 | 2024-05-15 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2024-05-15 | 2024-05-17 | UIG too high | DM Meter Issue, Corrected on D+5 | Yes
WS | 2024-05-21 | 2024-05-21 | UIG too high | DM Meter Issue, Corrected on D+5 | Yes
WS | 2024-05-24 | 2024-05-24 | UIG too high | DM Meter Issue, Corrected on D+5 | Yes
WS | 2024-06-12 | 2024-06-12 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-06-23 | 2024-06-25 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-07-01 | 2024-07-01 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-07-11 | 2024-07-11 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-07-15 | 2024-07-15 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
SO | 2024-07-16 | 2024-07-16 | UIG too high | The Distribution Network has confirmed this has been caused by a major gas leak which has now been resolved. Information regarding the adjustment process will be confirmed asap. | No
WS | 2024-07-16 | 2024-07-16 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-07-17 | 2024-07-17 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-07-23 | 2024-07-23 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-07-25 | 2024-07-25 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-07-26 | 2024-07-26 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-08-01 | 2024-08-05 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-08-14 | 2024-08-14 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-08-30 | 2024-08-30 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
SO | 2024-09-14 | 2024-09-14 | UIG too low | Incorrect LDZ Input Measurement | Yes
WS | 2024-09-16 | 2024-09-17 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-09-19 | 2024-09-19 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-09-21 | 2024-09-21 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
SE | 2024-09-23 | 2024-09-23 | UIG too low | Incorrect LDZ Input Measurement | Yes
WS | 2024-09-23 | 2024-09-24 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-09-28 | 2024-09-28 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-09-30 | 2024-09-30 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-10-02 | 2024-10-02 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-10-04 | 2024-10-04 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-10-07 | 2024-10-07 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-10-08 | 2024-10-08 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-10-10 | 2024-10-10 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-10-11 | 2024-10-11 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-10-14 | 2024-10-14 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-10-15 | 2024-10-15 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-10-17 | 2024-10-17 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-10-18 | 2024-10-18 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-10-28 | 2024-10-28 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-10-30 | 2024-10-30 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-11-01 | 2024-11-01 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-11-05 | 2024-11-05 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-11-07 | 2024-11-07 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-11-08 | 2024-11-08 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-11-12 | 2024-11-12 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-11-18 | 2024-11-18 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-11-26 | 2024-11-26 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
NO | 2024-12-03 | 2024-12-04 | UIG too low | Erroneous weather data used in calculation of NDM demand. Identified and corrected before closeout. | Yes
WS | 2024-12-05 | 2024-12-05 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-12-06 | 2024-12-06 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-12-07 | 2024-12-07 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2024-12-09 | 2024-12-09 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-12-12 | 2024-12-12 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2024-12-13 | 2024-12-13 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2024-12-14 | 2024-12-14 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
NO | 2024-12-15 | 2024-12-15 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
NE | 2024-12-25 | 2024-12-25 | UIG too high | Incorrect LDZ Input Measurement | Yes
NO | 2024-12-24 | 2024-12-25 | UIG too high | Incorrect LDZ Input Measurement | Yes
NE | 2024-12-30 | 2024-12-31 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2025-01-02 | 2025-01-02 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-01-06 | 2025-01-06 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-01-09 | 2025-01-09 | UIG too low | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-01-10 | 2025-01-10 | UIG too low | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-01-14 | 2025-01-14 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-01-19 | 2025-01-19 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-01-20 | 2025-01-20 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-01-21 | 2025-01-21 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
SC | 2025-01-24 | 2025-01-24 | UIG too low | Incorrect LDZ Input Measurement | Yes
WS | 2025-01-30 | 2025-01-30 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-02-05 | 2025-02-05 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-02-11 | 2025-02-11 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-02-17 | 2025-02-17 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-02-25 | 2025-02-25 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-02-28 | 2025-02-28 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-03-03 | 2025-03-03 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-03-07 | 2025-03-07 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-03-20 | 2025-03-20 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2025-03-23 | 2025-03-23 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
EA | 2025-04-04 | 2025-04-04 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2025-04-07 | 2025-04-07 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes
WS | 2025-04-08 | 2025-04-08 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
WS | 2025-04-11 | 2025-04-11 | UIG too high | DM Meter Issue, Corrected on D+3 | Yes
EA | 2025-04-11 | 2025-04-11 | UIG too high | Incorrect LDZ Input Measurement | Yes
WS | 2025-04-15 | 2025-04-15 | UIG too high | DM Meter Issue, Corrected on D+4 | Yes
WS | 2025-04-17 | 2025-04-17 | UIG too high | DM Meter Issue, Corrected on D+2 | Yes

## Lists (hidden)
Yes | EA
No | EM
LC
LO
LS
LT
LW
NE
NO
NT
NW
SC
SE
SO
SW
WM
WN
WS
All